Appendix 6 – Question 4d

- Flooding Oakley bridge affects traffic congestion

- Location not connected to mains sewage, historic evidence of flooding

- Constant water leak for years opposite No. 14 Station Road

- leaking hole needs constant mending on road outside No.1 Station road

- Household ok Twin bridges floods

- Flooding, and at the apex of, Westfield Road

- No main sewerage and drainage limited, but it is dealt with adequately

- Surface water on the High Street

- Lack of water pressure

- Surface water

- No connection to drains for surface water

- Poor drainage from fields behind property

- occasional blockage of main sewer pipes

- Occasional blockage

- Run off after heavy rain

- Surface water.

- Water pressure

- Ruffs furze drains too small

- Run off from road in heavy rain

- Leaves + drains are not cleaned regularly

- Sewage over flooding in road

- Sewage

- Water level low at peak times. Sewage very smelly on occasions

- not on main sewer

- Loss of broadband in wet weather

- Water table level

- Frequently blocked drains, poor water pressure

- Surface runoff from land developed above High St

- occasional very low pressure

- traffic racing by spraying water into gardens and people on paths

- sewerage issues

- Surface water into property caused by speeding and excess traffic

- Water pressure often down

- Water pressure low at peak times

- Surface water in road

- Occasional breaks in supply

- Surface water drainage- road floods. Drains are infrequently emptied but there is a lot of run off from surrounding land too

- Road floods in heavy rain. Drains cannot cope. Drains not emptied regularly

- Low pressure of mains water especially at weekends

- Surface water off field behind us

- Sewage sometimes backfills into manhole cover in garage. Our road sometimes has blocked pipes apparently caused by tree roots

- Heavy rain in Westfield road sometimes causes flooding due to blocked and overloaded drains which can take a long time to clear

- Westfield Road drains cause flooding

- Low water pressure

- Low water pressure Surface water on the road

- Sewer drains in our front garden are always blocking

- Low water pressure

- A section of Westfield Road floods regularly due to run-off from farmland with inadequate drainage under the road.

- Lack of Mains Drainage and Sewerage in Westfield Road